## Table des Casiers de Localisati
Internal no | Description | Qté_Requise | MANUFACTURER | MFG P/N | STK | PRICE | TOTAL VALUE | NOTE
| (see Bottom of the list for contact information) |  |  |  |  | (US) | (US)
| 120/347 VOLTS HID LAMP BALLAST FOR 1x70W S62 High Pressure Sodium Lamp |  | ADVANCE TRANSFORMER | 72C79C4-NP | 3 | 100 | 300 | Made in USA
| COUPLING, ENT 1"-1" (Concrete-tight when used with Carlon ENT) - Suitable for damp locations- No glue or cement needed nonconductive thermoplastic material (Blue) |  | CARLON | A240F | 4 | 1 | 4 | Made in USA
| THREADED ADAPTER, ENT MALE QUICK CONNECT 3/4" (Concrete-tight when used with Carlon ENT) - Suitable for damp locations- No glue or cement needed nonconductive thermoplastic material (Blue) |  | CARLON | A243E | 5 | 1 | 5 | Made in USA
| Snap-In ADAPTER, ENT MALE QUICK CONNECT 3/4" (Concrete-tight when used with Carlon ENT) - Suitable for damp locations- No glue or cement needed nonconductive thermoplastic material (Blue) |  | CARLON | A253E | 20 | 1 | 20 | Made in USA
| GROOVED PHENOLIC BAFFLE 3 1/2" LINE VOLTAGE PAR20 (WHITE) max 50W |  | Contrast Lighting | BAFRE2550-01 | 5 | 5 | 25 | Made in CANADA
| B-LINE Washer; Square 1-5/8 x 1-5/8 Inch For 3/8 Inch Bolt (7/16" hole) (Zinc Plated); 0.17lb/ea |  | COOPER | B201 | 60 | 1 | 60 | Made in USA
| B-LINE Washer; Square 1-5/8 x 1-5/8 Inch For 1/2 Inch Bolt (ZINC PLATED); 0.17lb/ea |  | COOPER | B202 | 2 | 1 | 2 | Made in USA
| ELBOW 3" 1/4 BEND (PVC300 WHITE) |  | CHARLOTTE PIPE & FOUNDRY | 611942-03357 | 3 | 5 | 15
| PLASTIC SLEEVE 2" (From 2 1/8" - 3 1/2") Height: 8" BLACK (can be used in every type of concrete floor. It can minimize concrete drilling costs to pass pipes, cables, etc.) |  | FIBRO DRAIN | PS-2" | 79 | 3 | 237
| PLASTIC SLEEVE 4" (From 4 1/8" - 5 1/2") Height: 8" BLACK (can be used in every type of concrete floor. It can minimize concrete drilling costs to pass pipes, cables, etc.) |  | FIBRO DRAIN | PS-4" | 120 | 5 | 600
| 3X2" REDUCER COUPLING RDR SDR35 PVC SW SWR X DWV HH (PVC WHITE) |  | ROYAL PIPE SYSTEMS/PLASTIC TRENDS | P652 | 1 | 5 | 5
| 3X2" REDUCER COUPLING RDR SDR35 PVC SW SWR X DWV HH (PVC WHITE) |  | ROYAL PIPE SYSTEMS/PLASTIC TRENDS | P653 | 6 | 5 | 30
| 3" (78mm) RIGID PVC CONDUIT 3"x 45 degr. X 13 (PVC GREY) Max 90 Degr. C |  | ROYAL PIPE SYSTEMS | 3"X45*X13 COND | 6 | 20 | 120
| RACCORD #5 B 45-36 HQ 115x 5 degr. (PVC BLANC) |  | ROYAL PIPE SYSTEMS | 7300630 | 5 | 5 | 25
Pls contact Michel Charlebois at:
mdcharlebois@videotron.ca
for price validation and parts availability
or dial 514-452-3538
Note on F3: Michel Charlebois: installed on Lithonia Lighting fixture # GRSH/AHW 70S